## Reproductive Health List
GHSC ELIGIBLE REPRODUCTIVE HEALTH PRODUCT LIST [PUBLISHED 20 MAR 2024 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
Product Unique ID | PRODUCT GROUP | Brand Name | Active Ingredient(s) (Pharmaceuticals) | Kit Components | Medical Device Attributes | Strength (Pharma) | Dosage Form | Package Size | Shelf-life (months) | Storage Conditions | Supplier | FPP Manufacturer | FPP Manufacturing Site | Additional FCA Product Pick-Up Location (when different from FPP manufacturing site) | Country of Manufacture | Regulatory Basis of Approval | Regulatory Version | Date Added To Eligible list
301888 | Auto-Disable Syringe with Reuse Prevention Feature | BD SoloShot 1X | None | N/A | 1mL AD syringe with fixed needle of 22G x 1", RUP 1A, Sterile | NA | NA | 1 x Blister Pack 200 per box | 60 | No specific storage conditions required | Pfizer Overseas LLC | Becton Dickinson S.A. | Carretera de Mequineneza s/n 22520 Fraga (Huesca), Spain | Pfizer Manufacturing Belgium NV, Rijksweg 12, 2870 Puurs, Belgium | Spain | US FDA | CE Marked, US FDA 510K (K042934) | 2015-01-01
W0466 | Contraceptive Implant Insertion/Removal Kit SB | Implant insertion/removal kit (SB) | NA | * Povidone Iodine Solution 10%, 500 ml bottle, disinfectant, topical solution (1 bottle) * Cotton wool, 500g, absorbant (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe disp., 5ml, sterile, 3 part with needle, 23G x 1, Iuer lock (25 pieces) * Adhesive Plaster with wound pad, 19 x72mm, waterproof (25 pieces) * Gauze bandage, 8cm x 4m, individual packed, selfedged (5 rolls) * Scalpel with blade, sterile, single use, retractable and lockable (5 pieces) * Adhesive tape, 2.5cm x 5m, Z.O.P white (1 roll) | N/A | NA | NA | NA | 36 months | Store below 25 ⁰C in a clean, dry, dust & linit-free area, protected from light | Missionpharma A/S | Various | Distributor: Missionpharma A/S Vassingeroedvej 9, DK-3540, Lynge, Denmark Kitter: Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | India | USAID | USAID/UNFPA | 2019-12-30
| Levonorgestrel (150 mg) Releasing Implant | Jadelle | Levonorgestrel | N/A | N/A | 2 x 75mg/rod | Implant | 2x75mg per pouch, 10 pouches per pack | 60 | Do not store above 30°C | Bayer AG | Bayer Oy | Pansiontie 47, FI-20210 Turku, Finland | ILP -Group Logistics Oy, Katriinantie 20 B, 01530 Vantaa, Finland | Finland | SRA | SRA (Finland): 17098 WHO PQ: RH017 | 2015-01-01
Not provided | Levonorgestrel (150 mg) Releasing Implant | Levoplant | Levonorgestrel | N/A | N/A | 2 x 75mg/rod | Implant | 2 rods/Pouch X 10 | 60 | Do not store above 30°C | WomanCare Global Trading CIC (WCG) | Shanghai Dahua Pharmaceutical Co Ltd. | 3503 Changzheng Road Changzheng Farm, Chongming County Shanghai, China |  | China | WHO PQ | WHO PQ: RH028 | 2018-08-10
ROW 1952894 ESA 1953729 FSA 1953126 PSA 1038473 | Etonorgestrel (68 mg) Releasing Implant | Implanon/NXT | Etonogestrel | N/A | N/A | 68mg | Implant | 1 rod /Blister | 60 | Do not store above 30°C. Store in the original blister package. | N.V.Organon | N.V. Organon | Kloosterstraat 6 5349 AB Oss The Netherlands |  | Netherlands | SRA | SRA (The Netherlands): NL/H 16/1010471D WHO PQ: RH036 | 2021-03-02
F000201632 | Medroxyprogesterone Acetate 150 mg Injectable | Depo-Provera | Medroxyprogesterone Acetate | Approved for use with TE 00717 BD SoloShot 1X syringe |  | 150 mg/ mL | Injectable | 25 vials per carton 200 vials per box 400 vials/case | 48 | Do not refrigerate or freeze, store below 30⁰C Store vials upright. | Pfizer Overseas LLC | Pfizer Manufacturing Belgium NV | Rijksweg 12, B-2870 Puurs, Belgium |  | Belgium | SRA | SRA (Swedish MPA: 9201) | 2015-01-01
E2092 | Medroxyprogesterone Acetate 150 mg Injectable | Triclofem | Medroxyprogesterone Acetate | Approved for use with TE 00713 HD Syringe (HD-AD1) Approved for use with TE 00715 Yushou Syringe (ZH-A) |  | 150 mg/ mL | Injectable | 20 Vials per inner box 36 inner boxes / Master Box 4 Master Boxes / Shipper | 60 | •Do not store above 30ºC and keep the glass vial in the provided carton to protect from the light •Do not freeze •Vials MUST be stored upright •Avoid excursions over 30ºC •Keep out of reach of children | Missionpharma A/S | PT Tunggal Idaman Abdi | Jalan Jendral Ahmad Yani No. 7, Jakarta Timur 13230, Indonesia | Approved offsite warehouse: Jl. Jend. Ahmad YaniNo.2 Jakarta 13210 or Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | Indonesia | WHO PQ | WHO PQ | 2018-08-23
F000038660 | Medroxyprogesterone Acetate 104 mg/0.65 mL | Sayana Press | Medroxyprogesterone Acetate | N/A | N/A | 104 mg/ 0.65 mL | Injectable | pouch 1x1 | 36 | Do not refrigerate or freeze, store below 30°C | Pfizer Overseas LLC | Pfizer Manufacturing Belgium NV | Rijksweg 12, B-2870 Puurs, Belgium | Henri Essers en Zonen International Transport NV Transportlaan 4, 3600 Genk, Belgium | Belgium | SRA | SRA (The Netherland) | 2015-01-01
300001490 | Medroxyprogesterone Acetate 150 mg Injectable | Contrasafe | Medroxyprogesterone Acetate | Supplied with Hindustan Kojak Selinge syringe TE 01025 | N/A | 150 mg/ mL | Injectable | 25 vials per inner box | 36 | Do not store above 30⁰C. Do not freeze. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH074 | 2019-08-15
13000989 | Medroxyprogesterone Acetate 150 mg Injectable | Medogen 150 mg/mL suspension for injection | Medroxyprogesterone Acetate | Approved for use with AMEX: Yushou Auto Disable Syringe (Model ZH-BIR-2mL-F24G) - TE 00714 [ONE TIME PROCUREMENT ONLY] Approved for use with TE 00722 Kojak Selinge (PRD 00874) |  | 150 mg/ mL | Injectable | 1 ml Vial; 1 vial/package, or 20 vials/case | 36 Months | Do not store above 30°C. Do not freeze. Store vials in the cartons to protect from light. | Incepta Pharmaceuticals Ltd | Incepta Pharmaceuticals Ltd | Incepta Pharmaceuticals Ltd, Unit –1, Injectable Potent Drug (IPD) Krishnapura, Sahabelishor, Dhamrai, Dhaka, Bangladesh |  | Bangladesh | WHO PQ | WHO PQ (RH084) | 2020-04-27
HD-AD1 | Auto-Disable Syringe with Reuse Prevention Feature | HD Syringe (HD-AD1) | None | N/A | 1mL AD syringe with fixed needle of 22G x 1", RUP 1B, Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | To be stored in a dry and ventilated environment free of corrosive gases and clean environment. It is strictly prohibited to store them in the same warehouse with chemicals and moist articles. | Missionpharma A/S | Jiangxi Hongda Medical Equipment Group Ltd | No. 39 South Shengli Rd, Jinxian County, 331700 Nanchang, Jiangxi Province, PRC | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | China | USAID | CE Marked | 2020-07-31
| Copper-bearing intrauterine device | Pregna Model TCu380A |  | Copper |  | NA | Intrauterine Device | 300/outer carton | 84 | On secondary label: Store in cool, dry condition, away from sunlight On primary label: Protect from heat, sunlight, water and mechanical shocks | Pregna International Ltd. | Pregna International Ltd. | Plot No.-219, Survey No.-168, Dabhel Industrial Co-op Society Limited, Debhel, Daman (U.T) - 396210, INDIA |  | India | WHO PQ | CE Mark and WHO PQ | 2018-06-01
SMB TCu380 | Copper-bearing intrauterine device | SMB TCu380A |  | Copper |  | NA | Intrauterine Device |  | 84 | Store in a dry place away from direct sunlight and sources of heat. | SMB Corporation of India | SMB Corporation of India | Unit I: 13, 33-36 Prem Industrial Estate, Subhash Road, Jogeshwari (E), Mumbai 400060, India Unit II: Plot No. 156, GIDC, Umbergaon, District Valsad,396170, Gujarat, India |  | India | UNFPA/WHO PQ (CE mark regulatory version) | USAID/UNFPA | 2019-03-19
400002020 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Sugar Placebo Tablets | Zinnia-P | Levonorgestrel / Ethinyl Estradiol | N/A | N/A | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Sugar Placebo)/BL | 36 | Store below 30°C. Store in the original package. Protect from light | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Levonorgestrel/EE Tablets + Placebo Mylan Laboratories Limited Plot No. 1606-1609, G.I.D.C., Dist. Valsad Sarigam, Gujarat 396 155 India Mylan Laboratories Limited Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH035 | 2018-06-01
400002721 | Levonorgestrel 0.75 mg | Revoke 72 | Levonorgestrel | N/A | N/A | 0.75 mg | Tablets | 2 Tablets/Blister | 36 | Do not store above 30°C. Protect from light. Store the tablet in blister in provided carton | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH032 | 2020-12-22
400002794 | Levonorgestrel 1.5 mg | Revoke 1.5 | Levonorgestrel | N/A | N/A | 1.5 mg | Tablets | 1 Tablet/Blister | 36 | Do not store above 30°C. Protect from light. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH031 | 2018-06-01
31002354 | Levonorgestrel 0.75 mg | Pill 72 | Levonorgestrel | N/A | N/A | 0.75 mg | Tablets | 2 Tablets/Blister | 36 | Do not store above 30°C. Store tablets in blister in the provided carton. | Cipla Limited | Cipla Limited | Unit VIII (Unit-8) Plot No: L-139, S-103 & M-62, Verna Industrial Estate, Salcette, Goa 403722, India | JWL Cold Store Pvt ltd Opp. JWC Logistics Park Pvt ltd Survey no 92/10&92/11 NH 17, Mumbai Goa Highway Village Palaspe, PANVEL – 410206 | India | WHO PQ | WHO PQ: RH040 | 2018-06-01
31002392 | Levonorgestrel 1.5 mg | I-Pill | Levonorgestrel | N/A | N/A | 1.5 mg | Tablets | 1 Tablet/Blister | 24 | Do not store above 30°C. Protect from light. Store tablets in blister in the provided carton. | Cipla Limited | Cipla Limited | Unit VIII (Unit-8) Plot No: L-139, S-103 & M-62, Verna Industrial Estate, Salcette, Goa 403722, India | JWL Cold Store Pvt ltd Opp. JWC Logistics Park Pvt ltd Survey no 92/10&92/11 NH 17, Mumbai Goa Highway Village Palaspe, PANVEL – 410206 | India | WHO PQ | WHO PQ: RH046 | 2018-06-01
ZH-A | Auto-Disable Syringe with Reuse Prevention Feature | Yushou Syringe (ZH-A) | None | N/A | 1 mL AD syringe with fixed needle of 22G x 1", RUP 1A, Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | Stable storage temperature: 0-38oC. The product should be stored in dry and well-ventilated room with relative humidity of less than 80% and no corrosion gas | Missionpharma A/S | Wuxi Yushou Medical Appliance Co. Ltd | No. 115 Nongxinhe Road, Dongbeitang town, Wuxi City, Jiangsu Province, China | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | China | USAID | CE Marked | 2020-07-31
80757220 | Levonorgestrel 0.03 mg Tablet | Microlut | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | Each box contains 3 blisters with 35 pills PVC/Alu blister; 720 cycles/case | 60 | Do not store above 30°C. | Bayer AG | Bayer AG | Döbereiner Str. 20 99427 Weimar, Germany(bulk manufacturing); Bayer Pharma AG, Berlin, Germany (packaging and release) | Kuehne + Nagel (AG & Co.) KG, Logistikdienst in Oberkrämer, Brandenburg Gewerbepark 32 16727 Oberkraemer | Germany | SRA | SRA (Germany): 6929492.00.00 | 2020-12-22
Kenya: 5001041 Madagascar: 5001036 Nigeria: 500103 Panama: 5001043 Zambia: 5001037 | Levonorgestrel-releasing intrauterine device | Avibela | Levonorgestrel | N/A | N/A | 52 mg | Intauterine Device | Pouch inside a unit carton | 60 | Do not store above 30oC. Store pouch in outer carton until use to protect from light. | Impact RH360: Medicines 360 | Odyssea Pharma SPRL | Rue du Travail 16 4460 Grace-Hollogne Belgium | AbbVie, C/O UPS SCS, Marco Poloweg 22-24, Venlo, 5928 LE, Netherlands De Jong Special Warehousing B.V. Frankweg 20, Nieuw-Vennep, 2153 PD, Netherlands | Belgium | SRA | SRA (Denmark): 53445 | 2020-10-05
82961519 | Levonorgestrel-releasing intrauterine device | Mirena | Levonorgestrel | N/A | N/A | 52mg | Intrauterine Device | Blister pack. The blister pack is then packaged in a carton of one sterile unit | 36 | Do not store above 30oC | Bayer AG | Bayer Oy | Pansiontie 47, FI-20210 Turku, Finland | Bayer Oy, Artukaistentie 10, 20240 Turku, Finland | Finland | SRA | SRA (Finland): FIMEA: 10212 | 2020-11-09
400003375 | Levonorgestrel 0.03 mg Tablet | Famy Pop | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | 28 tablets /BL x 3 | 36 | Do not store above 30 ⁰C. Protect from light. Store tablets in blisters in provided carton. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH057 | 2018-06-01
400003375 | Levonorgestrel 0.03 mg Tablet | Famy Pop | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | 35 tablets/BL x 3 | 36 | Do not store above 30 ⁰C. Protect from light. Store tablets in blisters in provided carton. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Sarkhej- Bavla NH No- 8A, Plot No 20/21 Pharmaceutical Special Economic Zone, Nr Village Matoda Ahmedabad, Gujarat 382213 India |  | India | WHO PQ | WHO PQ: RH057 | 2018-06-01
864977 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Sugar Placebo Tablets | Microgynon ED | Levonorgestrel / Ethinyl Estradiol |  |  | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Sugar Placebo)/BL | 36 for IVb or 60 for IVa | Do not store above 30⁰C. Protect from moisture | Bayer AG | Bayer Weimar GmbH and Co. KG; Bayer AG | Bayer Weimar GmbH und Co. KG Doebereinerstrasse 20 99427 Weimar, Germany And Bayer AG Müllerstrasse 178 13353 Berlin, Germany | Kuehne + Nagel (AG & Co.) KG, Logistikdienst in Oberkrämer, Brandenburg Gewerbepark 32 16727 Oberkraemer | Germany | SRA | SRA (Germany): 6929523.00.00 | 2021-06-11
PRD 02148 | Auto-Disable Syringe with Reuse Prevention Feature | Kojak Selinge (PRD 02418) | None | N/A |  | N/A | N/A | 1 x Blister Pack 100 per box | 60 | Store in clean, dry and insect-free place | Missionpharma A/S | Hindustan Syringes & Medical Devices Ltd | 174, 178/25, Ballabgarh, Faridabad, India 121004 | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | India | USAID | CE Marked | 2021-11-22
N/A | Auto-Disable Syringe with Reuse Prevention Feature | YIXIN | None | N/A |  | N/A | N/A | 1 x Blister Pack 100 per box | 60 | Store in a cool dry condition | Missionpharma A/S | Jiangxi Sanxin Medtec Co., Ltd | No. 999 Fushan Road Xiaolan Economic Development Nanchang, Jiangxi | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | China | USAID | CE Marked | 2022-01-11
N/A | Auto-Disable Syringe with Reuse Prevention Feature | Oneject | None | N/A | Hypodermic Syringe with Reuse Prevention Feature, 2mL 24GX1’’ Fixed Needle, sterile | N/A | N/A | 1 syringe per Blister Pack 100 piece per Box | 60 | Store in a room temperature | Incepta Pharmaceuticals Ltd | PT Oneject Indonesia | JI. Olympic Raya Kav.B-9, Kawasain Industry Sentul, Bogor, 16810, Indonesia | Incepta Pharmaceuticals Ltd, Unit-1, Injectable Potent Drug (IPD), Krishnapura, Sahabelishor, Dhamrai, Dhaka, Bangladesh | Indonesia | USAID | CE Marked | 2022-04-04
PRD 02148 | Auto-Disable Syringe with Reuse Prevention Feature | Kojak Selinge (PRD 02148) | None | N/A | 1 mL AD syringe with fixed needle of 22G x 1", RUP , Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | Store in clean, dry and insect-free place. Avoid exposure to excessive heat. Avoid exposure to acidic/corrosive fumes to avoid corrosion/rust | Mylan Laboratories Limited | Hindustan Syringes & Medical Devices Ltd | 174, 178/25 Ballabgarh, Faridabad, India 121004 | Hindustan Syringes & Medical Devices Ltd. 174, 178/25, Ballabgarh, Faridabad, India 121004 | India | USAID | WHO PQS Qualified, Health Canada License | 2019-08-15
PRD 00874 | Auto-Disable Syringe with Reuse Prevention Feature | Kojak Selinge | None | N/A | 2mL AD syringe with fixed needle, 24G x 1", RUP 1B, Sterile | N/A | NA | 1 x Pouch Pack 100 per box | 60 | Store in clean, dry and insect - free place | Incepta Pharmaceuticals Ltd | Hindustan Syringes & Medical Devices Ltd | 174, 178/25, Ballabgarh, Faridabad, India 121004 | Incepta Pharmaceuticals Ltd, Unit-1, Injectable Potent Drug (IPD), Krishnapura, Sahabelishor, Dhamrai, Dhaka, Bangladesh | India | USAID | CE Marked | 2020-07-17
| Fertility Awareness-based Method | CycleBeads | None | N/A | N/A | NA | NA |  |  |  | Cycle Technologies | Cycle Technologies |  |  | India | NOT REQUIRED | N/A | 2016-04-27
9000500 | Contraceptive Implant Insertion/Removal Kit B | Implant insertion/removal kit (B) | NA | * Povidone Iodine Solution 10%, 500 ml bottle USP or BP or equivalent (1 bottle) * Cotton wool, 500g, roll, non-sterile (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (20 vials) * Syringe, luer, 5ml, sterile, 2 part, concentric tip, 23G (25 pieces) * Adhesive wound plaster, 19 x72mm, waterproof (25 pieces) * Gauze, 8cm x 4m, roll, 100% cotton (5 rolls) * Surgical scalpel blade (No. 10), sterile, disposable (5 pieces) * Tape, adhesive plaster, 2.5cm x 5m (1 roll) | N/A | NA | NA | NA | 36 | Store below 25⁰C in a clean, dry, dust & lint-free area, protected from light | The Medical Export Group (MEG) | Various | Distributor: The Medical Export Group, Hooglandseweg 6, 4214KG, Vuren, The Netherlands Kitter: The Medical Export Group Hooglandseweg 6, 4214KG, Vuren, The Netherlands | The Medical Export Group Hooglandseweg 6 4214KG, Vuren The Netherlands | Netherlands | USAID | USAID/UNFPA | 2019-12-30
9000501 | Contraceptive Implant Insertion/Removal Kit SB | Implant insertion/removal kit (SB) | NA | * Povidone Iodine Solution 10%, 500 ml bottle USP or BP or equivalent (1 bottle) * Cotton wool, 500g, roll, non-sterile (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (20 vials) * Syringe, luer, 5ml, sterile, 2 part, concentric tip, 23G (25 pieces) * Adhesive wound plaster, 19 x72mm, waterproof (25 pieces) * Gauze, 8cm x 4m, roll, 100% cotton (5 rolls) * Scalpel (No. 3) with Blade (No. 10), sterile, single use, retractable and lockable (5 pieces) * Tape, adhesive plaster, 2.5cm x 5m (1 roll) | N/A | NA | NA | NA | 36 | Store below 25 ⁰C in a clean, dry, dust & linit-free area, protected from light | The Medical Export Group (MEG) | Various | Distributor: The Medical Export Group, Hooglandseweg 6, 4214KG, Vuren, The Netherlands Kitter: The Medical Export Group, Hooglandseweg 6, 4214KG, Vuren, The Netherlands | The Medical Export Group Hooglandseweg 6 4214KG, Vuren The Netherlands | Netherlands | USAID | USAID/UNFPA | 2019-12-30
W0467 | Contraceptive Implant Insertion/Removal Kit B | Implant insertion/removal kit (B) | NA | * Povidone Iodine Solution 10%, 500 ml bottle, disinfectant, topical solution (1 bottle) * Cotton wool, 500g, absorbant (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe disp., 5ml, sterile, 3 part with needle, 23G x 1, Iuer lock (25 pieces) * Adhesive Plaster with wound pad, 19 x72mm, waterproof (25 pieces) * Gauze bandage, 8cm x 4m, individual packed, selfedged (5 rolls) * Surgical scalpel blade (No. 10), sterile, disposable (5 pieces) * Adhesive tape, 2.5cm x 5m, Z.O.P white (1 roll) | N/A | NA | NA | NA | 36 months | Store below 25 ⁰C in a clean, dry, dust & linit-free area, protected from light | Missionpharma A/S | Various | Distributor: Missionpharma A/S Vassingeroedvej 9, DK-3540, Lynge, Denmark Kitter: Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | India | USAID | USAID/UNFPA | 2019-12-30
DIA Caya | Barrier methods: Diaphragms | Caya Contraceptive Diaphragm | NA | NA | contoured, flexible, single-sized, silicone elastomer cup | NA | NA | 1 carrying case with diaphragm. | 60 months | 32°F-104°F (0°C – 40°C) | Kessel Medintim GmBH | Febana – Feinmechanische Bauelemente GmbH | Rheinmatallstr 11 D-99610 Sommerda, Germany | Kessel Medintim GmbH Nordendstrasse 82-84 Morfelden-Walldorf 64546 Germany | Germany | US FDA | 510K ( K140305) | 2022-07-01
60111650110101 | Contraceptive implant insertion trocar | None | [8 empty] | WomanCare Global Trading CIC (WCG) | Shandong Ande HealthCare Apparatus Co. Ltd | No. 999, Zunxian Road, New & Hi-Tech Zone, Zibo, Shandong 255086 China | Shanghai Dahua Pharmaceutical Co. Ltd. 3503 Changzheng Road, Chongming County Shanghai, China | China | CE mark | CE marked | 2023-05-10
Note on C30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @Bing Li Can you verify this whole line? I think that this is incorrect

## Eligible Convenience Packages
GHSC ELIGIBLE REPRODUCTIVE HEALTH PRODUCT LIST [PUBLISHED 20 MAR 2024 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
CP number | Convenience Package Name | Supplier (Distributor) | Packaging Organization | Storage and pick-up location | Bundle Contents | Shelf-life | Storage Conditions | Pack Size
PRH-CP-0001.01 | Medroxyprogesterone Acetate 150mg/ml Intramuscular Injection (MPA-IM) 20 Package | Missionpharma A/S Vassingeroedvej 9, DK-3540 Lynge, Denmark | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A / I-II-III, Sector-3, Kandla Special Economic Zone Gandhidham (Kutch) - 370230 Gujarat - India | Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A / I-II-III, Sector-3, Kandla Special Economic Zone Gandhidham (Kutch) - 370230 Gujarat - India | Each box contains: • 20 vials of Medroxyprogesterone Acetate 150 mg/mL, 1 mL (approved in TE 00317) • 20 Autodisable Syringes with needle (22G x 1", 1 mL), (approved in TE 00913 or TE 00917) • product leaflets | 60 months | Store below 30C in a dry place away from light Vials must be stored upright | Each convenience package contains 20 MPA vials and 20 auto-disable syringes.

## TOTALSPIVOT (hidden)
Row Labels
Bayer AG
Bayer Oy
Becton Dickinson S.A.
Cycle Technologies
Hindustan Syringes & Medical Devices Ltd
Incepta Pharmaceuticals Ltd
Mylan Laboratories Ltd.
N.V. Organon
Odyssea Pharma SPRL
Pfizer Manufacturing Belgium NV
Pregna International Ltd.
PT Tunggal Idaman Abdi
Shanghai Dahua Pharmaceutical Co Ltd.
SMB Corporation of India
Various
Wuxi Yushou Medical Appliance Co. Ltd
Cipla Limited
Bayer Weimar GmbH and Co. KG; Bayer AG
Jiangxi Sanxin Medtec Co., Ltd
PT Oneject Indonesia
Jiangxi Hongda Medical Equipment Group Ltd
Febana – Feinmechanische Bauelemente GmbH
Shandong Ande HealthCare Apparatus Co. Ltd
Grand Total

## RISKBYMANUFPIVOT (hidden)
Row Labels
Bayer AG
Bayer Oy
Becton Dickinson S.A.
Hindustan Syringes & Medical Devices Ltd
Incepta Pharmaceuticals Ltd
Mylan Laboratories Ltd.
N.V. Organon
Odyssea Pharma SPRL
Pfizer Manufacturing Belgium NV
Pregna International Ltd.
PT Tunggal Idaman Abdi
Shanghai Dahua Pharmaceutical Co Ltd.
SMB Corporation of India
Various
Wuxi Yushou Medical Appliance Co. Ltd
Cycle Technologies
Cipla Limited
Bayer Weimar GmbH and Co. KG; Bayer AG
Jiangxi Sanxin Medtec Co., Ltd
PT Oneject Indonesia
Jiangxi Hongda Medical Equipment Group Ltd
Febana – Feinmechanische Bauelemente GmbH
Shandong Ande HealthCare Apparatus Co. Ltd
Grand Total

## MAPPIVOT (hidden)
Row Labels
Bangladesh
Belgium
China
Finland
Germany
India
Indonesia
Netherlands
Spain

## TYPEPIVOT (hidden)
#REF!
#REF!
#REF!
#REF!

## Climatic Zone Definition (hidden)
Figure 1: ICH Proposed criteria and long-term testing conditions (ICH Q1A(R2), 2003) |  |  |  | Figure 2: ICH Recommended labelling statements for finished pharmaceutical products (FPPs) (ICH Q1A(R2), 2003)
Climatic Zone | Definition | Criteria | Long-term testing conditions | Testing condition under which the stability of the FPP has been demonstrated | Recommended labeling statement
|  | Mean annual temperature measured in the open air/mean annual partial water vapour pressure |  | 25 oC/60%RH (long-term) | “Do not store above 25 oC”
I | Temperate climate | ≤ 15 oC / ≤ 11 hPa | 21 oC/ 45% RH | 40 oC/75%RH (accelerated)
II | Subtropical and Mediterranean climate | > 15 to 22 oC / < 11 to 18 hPa | 25 oC/ 60% RH | 25 oC/60%RH (long-term) | “Do not store above 25 oC”
III | Hot and dry climate | > 22 oC / < 15 hPa | 30 oC/ 35% RH | 30 oC/65%RH (intermediate, failure of accelerated)
IVA | Hot and humid climate | > 22 oC / < 15 to 27 hPa | 30 oC/ 65% RH | 30 oC/65%RH (long-term) | “Do not store above 30 oC”
IVB | Hot and very humid climate | > 22 oC / > 27 hPa | 30 oC/ 75% RH | 40 oC/75%RH (accelerated)
|  |  |  | 30 oC/75%RH (long-term) | “Do not store above 30 oC”
40 oC/75%RH (accelerated)
|  |  |  | 5 oC ± 3 oC | “Store in a refrigerator (2 oC to 8 oC)”
|  |  |  | -20 oC ± 5 oC | “Store in freezer”
Stability testing of active pharmaceutical ingredients and ﬁ nished pharmaceutical products
Appendix 1 Long-term stability testing conditions as identiﬁ ed by WHO Member States