## CATEGORYRISKPIVOT (hidden)
GTIN# | - all -
(empty) | Shelf-life (months)
Regulatory Version | 36 | 48 | 60 | Total Result
US FDA 510K
US FDA 510K: K132490
US FDA 510K: K202403
US FDA 510K: USAID
US FDA 510K:USAID
USAID (based on UNFPA and US 510K)
Total Result

## COLOR SCENT (hidden)
Regulatory Version | Count of Product Class
US FDA 510K | 1
US FDA 510K: K132490 | 1
USAID (based on UNFPA and US 510K) | 3
US FDA 510K: K202403 | 4
US FDA 510K:USAID | 7
US FDA 510K: USAID | 21
Total Result | 37

## Sheet1 (hidden)
Product Class | Count of QA Patient Risk Classification
Female Condom | 4
Male Condom | 31
Water-based Personal Lubricant | 2
Total Result | 37

## Eligible Convenience Packages
GHSC ELIGIBLE MALE AND FEMALE CONDOMS AND PERSONAL LUBRICANT PRODUCT LIST [PUBLISHED 19 AUG 2024 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in this eligible list is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
CP Number | Convenience Package Name | Supplier (Distributor) | Packaging Organization | Storage and Pick-Up Location | Bundle Contents | Shelf-Life | Storage Conditions | Pack Size
CPL-CP-0001.00 | Ebony Plus Condoms | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Each Convenience Package contains: * Three (3) 53mm nominal width/ Parallel/ Smooth/ Reservoir end/ Red color/ Lubricated/ Strawberry flavor condom (approved in TE 00112) * Three (3) Water based personal lubricant (approved in TE 00120) * One copy of Product Leaflet | 36 months | Store in a cool dry place, keep away from sunlight | 1 Convenience package containing: 3 Male Condoms + 3 Personal Lubricant
CPL-CP-0002.00 | Ebony Plus Condoms | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Suretex Limited 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Each Convenience Package contains: * Three (3) 53mm nominal width/ Parallel/ Smooth/ Reservoir end/ Green color/ Lubricated/ Peppermint flavor condom (approved in TE 00112) * Three (3)Water based personal lubricant (approved in TE 00120) * One copy of Product Leaflet | 36 months | Store in a cool dry place, keep away from sunlight | 1 Convenience package containing: 3 Male Condoms + 3 Personal Lubricant

## Condoms and Personal Lubricant
GHSC ELIGIBLE MALE AND FEMALE CONDOMS AND PERSONAL LUBRICANT PRODUCT LIST [PUBLISHED 19 AUG 2024 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
GTIN# | Product Class | Brand Name | Color/Scent | Medical Device Components | Medical Device Attributes | Shelf-life (months) | Storage Instructions | Primary Packaging | Supplier (Vendor) | Manufacturer | Manufacturing Site | Country | Regulatory Basis of Approval | Regulatory Version
40861783000100 | Female Condom | FC2 | Natural/None | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | US FDA | US FDA 510K: USAID
40861783000100 | Female Condom | FC2: Purple Color + Vanilla Fragrance | Purple Color + Vanilla Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | US FDA | USAID (based on UNFPA and US 510K)
40861783000100 | Female Condom | FC2: Red (Pink) Color + Strawberry Fragrance | Red (Pink) Color + Strawberry Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | US FDA | USAID (based on UNFPA and US 510K)
40861783000100 | Female Condom | FC2: Light Brown Color + Caramel Fragrance | Light Brown Color + Caramel Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | Malaysia | US FDA | USAID (based on UNFPA and US 510K)
| Water-based Personal Lubricant | Personal Lubricant Water Based (LO PLAIN) | Natural/None | Glycerin | NA | 36 | Store in a cool place away from heat, direct sunlight and mechanical damage | 4.5 g per sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Water-based Personal Lubricant | Personal Lubricant Water Based (One Touch) | Natural/None | Glycerin | NA | 36 | Store below 35C. Store the product in a cool and dry place away from sunlight. | 4.5 g per sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA 510K, CE Mark | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Prophylactics (India) Private limited | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA | US FDA 510K: USAID
| Male Condom | Natural Condom | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from direct sunlight. | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | BLUE/VANILLA | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | RED/STRAWBERRY Condom | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA | US FDA 510K: USAID
| Male Condom | YELLOW/BANANA Condom | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA | US FDA 510K: USAID
| Male Condom | NATURAL/VANILLA Condom | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | LifeStyles | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | India | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | PINK/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Pink / Strawberry | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | RED/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | GREEN/APPLE Condom | GREEN/APPLE | Silicone lubricated latex | 53 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No logo | BLUE/VANILLA | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | BROWN/CHOCOLATE | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA | US FDA 510K: K132490
| Male Condom | No Logo | GREEN / MINT | Silicone lubricated latex | 53 mm straight walled Green / Mint | 48 | Store the condom in a cool dry place away from direct sunlight | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139 Moo 1 Pinthong Industrial Estate Nongkham, Sriracha, Chonburi Thailand 20230 | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | NATURAL/STRAWBERRY | Silicone lubricated latex | 53 mm straight walled Natural/Strawberry | 48 | Store in a cool dry place away from heat direct sunlight & mechanical damage | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K: USAID
| Male Condom | No Logo | NATURAL/VANILLA | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat direct sunlight & mechanical damage | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | BROWN/CHOCOLATE | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA | US FDA 510K: K202403
| Male Condom | No Logo | YELLOW/BANANA | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA | US FDA 510K: K202403
| Male Condom | No Logo | RED/STRAWBERRY | Silicone lubricated latex | 53mmm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA | US FDA 510K: K202403
| Male Condom | No Logo | ORANGE/TANGERINE | Silicone lubricated latex | 53 mm straight walled Orange/Tangerine | 48 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited - Protective Devices Division | TTK Healthcare Limited - Protective Devices Division | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | India | US FDA | US FDA 510K: K202403
| Male Condom | No Logo | BLACK/CHOCOLATE | Silicone lubricated latex | 53 mm straight walled Black/Chocolate | 48 | Store in a cool dry place away from heat direct sunlight & mechanical damage | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | GREEN/MINT | Silicone lubricated latex | 53 mm straight walled Green/Mint | 48 | Store in a cool dry place away from heat direct sunlight & mechanical damage | Foil Sachet | LifeStyles | Suretex Limited (Thailand) | 31/1 Moo4, Suratthani-Thakuapha Road Tambon Khao Hua Kwai Amphur Phunphin Suratthani 84130, Thailand | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | Natural/None | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight | Foil Sachet | TTK Healthcare Limited – Protective Devices Division | TTK Healthcare Limited – Protective Devices Division | No 20 & 21 Perali Road Virudhunagar – 626001 Tamilnadu India | India | US FDA | US FDA 510K
| Male Condom | No Logo | Natural/None | Silicone lubricated latex | 53mm straight walled | 60 | Store the condom in a cool dry place away from direct sunlight. | Foiled/packed within a square foil with 4 side seal, 55±2mm | Karex Berhad | Innolatex (Thailand Limited | Lot E1-6, Export Processing Zone, Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai district, Songkhla, Thailand, 90110 | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | RED/STRAWBERRY | Silicone lubricated latex | 53mm straight walled | 48 | Store the condom in a cool dry place away from direct sunlight. | Foiled/packed within a square foil with 4 side seal, 55±2mm | Karex Berhad | Innolatex (Thailand Limited | Lot E1-6, Export Processing Zone, Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai district, Songkhla, Thailand, 90110 | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | YELLOW/BANANA | Silicone lubricated latex | 53mm straight walled | 48 | Store the condom in a cool dry place away from direct sunlight. | Foiled/packed within a square foil with 4 side seal, 55±2mm | Karex Berhad | Innolatex (Thailand Limited | Lot E1-6, Export Processing Zone, Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai district, Songkhla, Thailand, 90110 | Thailand | US FDA | US FDA 510K:USAID
| Male Condom | No Logo | GREEN/MINT | Silicone lubricated latex | 53mm straight walled | 48 | Store the condom in a cool dry place away from direct sunlight. | Foiled/packed within a square foil with 4 side seal, 55±2mm | Karex Berhad | Innolatex (Thailand Limited | Lot E1-6, Export Processing Zone, Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai district, Songkhla, Thailand, 90110 | Thailand | US FDA | US FDA 510K:USAID
Note on G4: Aida Cancel: Some countries may require shorter label shelf-life at registration.

## MAPpivot (hidden)
(empty)

## QA CLASSPIVOT (hidden)
Regulatory Version | Shelf-life (months) | Count of GHSC - QA PRODUCT CLASSIFICATION
US FDA 510K |  | 1
| 60 | 1
US FDA 510K: K132490 |  | 1
| 60 | 1
US FDA 510K: K202403 |  | 4
| 48 | 4
US FDA 510K: USAID |  | 21
| 36 | 2
| 48 | 15
| 60 | 4
US FDA 510K:USAID |  | 7
| 48 | 6
| 60 | 1
USAID (based on UNFPA and US 510K) |  | 3
| 60 | 3
Total Result |  | 37